## ELECTRICAL SERVICES
PROJECT A - ELECTRICAL SERVICES
ELECTRICAL INSTALLATION - PRELIMINARIES/GENERAL ITEMS
Page 1
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
PRELIMINARIES/GENERAL ITEMS
a | Allow for the preparation of all Working Drawings | 1 | Sum |  | 0
b | Allow for the preparation of all "As Built" Drawings | 1 | Sum |  | 0
c | The Tenderer is to describe hereunder inserting any relevant clause number, any other works, obligations or items that may be referred to in the Conditions of Contract, Specifications or Drawings in respect of the works for which he desires to enter a separate charge ( this charge is to be entered in the Amount column). If no charge is entered hereunder, rates and amounts elsewhere in the schedule of prices shall be deemed to cover all expenses for such works, obligations or items | 1 | Sum |  | 0
d | Allow for liaison and attendance to KPLC Ltd. in power application, and meter separation and installation of new 3phase meter. | 1 | Sum |  | 0
e | Allow for provision of manuals | 1 | Sum |  | 0
f | PC SUM FOR KENYA POWER TRANSFORMER | 1 | Sum |  | 0
| Total carried forward to price summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATIONS BASEMENT 2
Page 2
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 94 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 12 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 14 | No. |  | 0
LIGHTING FITTINGS
d | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 11 | No. |  | 0
e | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 40 | No. |  | 0
f | Ditto as above but with emergency kit | 20 | No. |  | 0
g | Type '2C' 600mm 2x18W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 | 2 | No. |  | 0
h | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
i | Type 'LS'1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 14 | No. |  | 0
POWER
j | 13A twin socket outlet wired in 3X2.5mm2 PVC Copper cable in ring main | 21 | No. |  | 0
k | 4mm2 PVC Copper cable to 20 Amp double pole switch | 7 | No. |  | 0
l | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 1 | No. |  | 0
POWER ACCESSORIES
m | 13A twin socket outlets as MK | 21 | No. |  | 0
n | 3 phase outlet complete with isolator and plug as MK | 1 | No. |  | 0
Total carried forward to price next page ……….
ELECTRICAL INSTALLATIONS BASEMENT 2
Page 3
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
a | Double pole socket outlet as MK | 7 | No. |  | 0
b | 250x250mm adaptable boxes | 10 | No. |  | 0
c | 50mm diameter interconnecting conduits | 150 | Lm. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
d | 4-Core 25mm2 PVC/SWA/PVC cable from main LV Board to DBs | 120 | Lm |  | 0
DISTRIBUTION BOARDS
e | 9way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A,63A MCBs and 3No. Spareways | 2 | No. |  | 0
FIRE ALARM
f | Addressable heat detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 24 | No. |  | 0
g | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
h | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
i | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 35 | No. |  | 0
OTHER POINTS
j | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
k | CCTV points in 20mm diameter Conduits | 6 | No. |  | 0
| Total carried forward to price summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION BASEMENT 1
Page 4
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 126 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 20 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 4 | No. |  | 0
LIGHTING FITTINGS
d | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 10 | No. |  | 0
e | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 60 | No. |  | 0
f | Ditto as above but with emergency kit | 20 | No. |  | 0
g | Type '2C' 600mm 2x18W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 | 1 | No. |  | 0
h | Type '2D' Low energy downlight as Ecolite code ELC1203C1 SR for toilets | 11 | No. |  | 0
i | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
j | Type 'LS'1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 14 | No. |  | 0
k | Type ML' Mirror light, Dual Shaver light as Ecolite code 71-SHL-DUAL | 4 | No. |  | 0
POWER
l | 300X50mm metalic cable tray | 150 | Lm |  | 0
m | 13A twin socket outlet wired in 3X2.5mm2 PVC Copper cable in ring main | 29 | No. |  | 0
n | 4mm2 PVC Copper cable to 20 Amp double pole switch | 13 | No. |  | 0
o | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 9 | No. |  | 0
POWER ACCESSORIES
p | 13A twin socket outlets as MK | 29 | No. |  | 0
q | 3 phase outlet complete with isolator and plug as MK | 9 | No. |  | 0
Total carried forward to price next page ……….
ELECTRICAL INSTALLATION BASEMENT 1
Page 5
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
a | Double pole socket outlet as MK | 13 | No. |  | 0
b | 250x250mm adaptable boxes | 10 | No. |  | 0
c | Trunking (100x50mm) | 60 | Lm. |  | 0
d | 50mm diameter interconnecting conduits | 250 | Lm. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
e | 4-Core 25mm2 PVC/SWA/PVC cable from main LV Board to DBs | 120 | Lm |  | 0
DISTRIBUTION BOARDS
f | 9way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A,63A MCBs and 3No. Spareways | 7 | No. |  | 0
g | 12 way TP-N DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A,63A MCBs and 3No. Spareways | 3 | No. |  | 0
FIRE ALARM
h | Addressable heat detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 32 | No. |  | 0
i | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
j | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
k | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 35 | No. |  | 0
OTHER POINTS
l | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
m | CCTV points in 20mm diameter Conduits | 5 | No. |  | 0
n | TV,Data and Telephone point points in 20mm diameter Conduits | 12 | No. |  | 0
| Total carried forward to price summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION GROUND FLOOR
Page 6
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 337 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 38 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 15 | No. |  | 0
d | 10A photocell complete with mounting brackets as Thorn QPK | 4 | No. |  | 0
LIGHTING FITTINGS
e | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 18 | No. |  | 0
f | Type 'D6' Low energy downlight as Ecolite code ELC-110A GX5.3 SR white, for Board rooms,meeting rooms | 46 | No. |  | 0
g | Type '2B' 12W 300mm x 300mm LED Panel light as Ecolite PL-S12 for meeting rooms | 8 | No. |  | 0
h | Type '2D' Low energy downlight as Ecolite code ELC1203C1 SR for toilets | 15 | No. |  | 0
i | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 11 | No. |  | 0
j | Type '2C' 600mm 2x18W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 | 8 | No. |  | 0
k | Type 'LD Swimming pool lights as Ecolite 4601BL 6W LED Ground Lights IP68 Blue | 18 | No. |  | 0
l | Type 'LS','L1S' 1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 26 | No. |  | 0
m | Type 'D4' LED Pendant light as R&S Robertson Code 4261247 warm white to interior designers approval | 40 | No. |  | 0
0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION GROUND FLOOR
Page 7
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
a | Type 'GL' Security Light as Ecolite Lantern C/W HQ/I FYZT8033-II | 6 | No. |  | 0
b | Type 'SL' Lantern Security Light with PIR Sensor motion detector as Art Craft AC8090BK | 26 | No. |  | 0
c | Type 'WB4' Wall bracket Ecolite code 183084 and to interior designers approval | 20 | No. |  | 0
d | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
e | 'Type ML' Mirror light, Dual Shaver light as Ecolite code 71-SHL-DUAL | 3 | No. |  | 0
f | Type 'LD1' Water featurel lights as Ecolite 4601BL 6W LED Ground Lights IP65 Blue | 6 | No. |  | 0
g | "EXIT" Surface mounted double sided with 1X5W led lamps for BF- 4F maintained for 3 hours as OMS Emergency 2811 or equal and approved equivalent | 5 | No. |  | 0
h | "Type 4" Central louvre of satinbrite aluminium as OMS OMS INDIRECT C-D PV PAR-V2 MIRO4 L1 or equal and approved equivalent | 3 | No. |  | 0
i | Type '2A' 4X18W 600mm x 600mm recessed module ELECTRONIC BALLAST fluorescent fitting supplied with category 2 louvre as Pierlite for office | 2 | No. |  | 0
j | Type 'SL1' Security Light as Ecolite Code 9303-500 | 2 | No. |  | 0
k | Type DA' Low energy downlight as Ecolite code ELC-223A MR16 White | 15 | No. |  | 0
l | Type DC' Low energy decorative downlight as Chiswick Crystal IV to interior designers approval | 12 | No. |  | 0
m | Type D9' Downlighters mounted on MDF slats as Wickes fire rated Tilt Downlights to interior designers approval | 12 | No. |  | 0
n | Type DP' Low energy downlighter as Ecolite code ELC 3390 GU10 white or equal and approved equivalent | 4 | No. |  | 0
o | Type E' Wallbracket with motion detector as Ecolite E27 code 6011A warm white or equal and approved equivalent | 6 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION GROUND FLOOR
Page 8
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
a | LED Strip' To interior designers approval | 18 | LM |  | 0
POWER
b | 200x50mm, 3 compartment powder coated metallic trunking | 80 | No. |  | 0
c | 13A twin socket and FB outlet wired in 3X2.5mm2 PVC Copper cable in ring main | 78 | No. |  | 0
d | 4x6mm2 + 6mm2 PVC Copper cable to 32 Amp 3 phase outlet | 13 | No. |  | 0
e | 4mm2 PVC Copper cable to 20 Amp double pole switch | 10 | No. |  | 0
POWER ACCESSORIES
f | 13A twin socket outlets as MK | 78 | No. |  | 0
g | 3 phase outlet complete with isolator and plug as MK | 13 | No. |  | 0
h | Double pole socket outlet as MK | 10 | No. |  | 0
i | Floor Box with two socket outlets and two data outlet and one USB socket | 10 | No. |  | 0
j | 250x250mm adaptable boxes | 10 | No. |  | 0
SUBMAINS
k | 4-Core 10mm2 PVC/SWA/PVC cable from DB to CU | 80 | Lm |  | 0
l | 4x25mm2 PVC/SWA/PVC cable from main LV Board to DB "L" | 60 | Lm |  | 0
m | 4x35mm2 PVC/SWA/PVC cable from main LV Board to Main DB Board to DB "C" and "H" | 50 | Lm |  | 0
n | 4x16mm2 PVC/SWA/PVC cable from main LV Board to Main DB Board to DB "J" and "K" | 80 | Lm |  | 0
o | 50mm diameter interconnecting conduits | 300 | Lm. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION GROUND FLOOR
Page 9
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
DISTRIBUTION BOARDS
a | 9 Way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. |  | 0
b | 12 way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 3 | No. |  | 0
c | 6 way CU as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. |  | 0
FIRE ALARM
d | Addressable heat/Smoke detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 35 | No. |  | 0
e | Addressable break glass as Menvier code MBG817 or approved equivalent | 4 | No. |  | 0
f | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
g | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 45 | No. |  | 0
h | Intelligent Addressable 2-loop fire alarm panel complete with 72hrs standby batteries as Menvier DF60002 | 1 | No. |  | 0
i | Allow for repeater panel on the third floor as Menvier DF6000PR | 1 | No. |  | 0
OTHER POINTS
j | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
k | CCTV points in 20mm diameter Conduits | 15 | No. |  | 0
l | TV,Data and Telephone point points in 20mm diameter Conduits | 62 | No. |  | 0
0
| Total carried forward to summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION FIRST FLOOR
Page 10
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 229 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 74 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 66 | No. |  | 0
LIGHTING FITTINGS
d | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 19 | No. |  | 0
e | TYPE D5' Room light as Mark Slojd code 148044-492212 Cleo Ceining as 'D5' to interior designers approval | 63 | No. |  | 0
f | TYPE ML' Mirror light, Dual Shaver light code 71-SHL-DUAL | 21 | No. |  | 0
g | Type '2D' Low energy downlight as Ecolite code ELC1203C1 SR for toilets | 41 | No. |  | 0
h | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 3 | No. |  | 0
i | TYPE WBR' 6W Wall bracket Reading light as Jacob NS code FAS210CC3200A00 | 40 | No. |  | 0
j | Type 'LS' 1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 15 | No. |  | 0
k | LED strip Flex Form Hybrid 19.7' indoor-Cabinet Warm Light complete with door controlled switch to interior designers approval | 20 | No. |  | 0
l | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION FIRST FLOOR
Page 11
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
POWER
a | 300x50mm, 3 compartment powder coated metallic trunking | 40 | Lm |  | 0
b | 13A twin socket outlet wired in 3X2.5mm2 PVC Copper cables in ring main | 104 | No. |  | 0
c | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 1 | No. |  | 0
d | 4mm2 PVC Copper cables to 20 Amp double pole point | 40 | No. |  | 0
POWER ACCESSORIES
e | 13A twin socket outlets as MK & USB | 89 | No. |  | 0
f | 3 phase outlet complete with isolator and plug as MK | 1 | No. |  | 0
g | Double pole switch outlet as MK | 20 | No. |  | 0
h | 50mm diameter interconnecting conduits | 500 | Lm. |  | 0
i | 250x250mm adaptable boxes | 5 | No. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
j | 4 Core 25mm2 PVC/SWA/PVC cable from main LV Board to DB | 100 | Lm |  | 0
k | 3x6mm2 PVC/SWA/PVC cable from main DB Board to CU per room | 450 | Lm |  | 0
DISTRIBUTION BOARDS
l | 12 way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. |  | 0
m | 6 way CU as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 21 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION FIRST FLOOR
Page 12
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
FIRE ALARM
a | Addressable heat/smoke detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 23 | No. |  | 0
b | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
c | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
d | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 29 | No. |  | 0
OTHER POINTS
e | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
f | CCTV points in 20mm diameter Conduits | 3 | No. |  | 0
g | TV,Data and Telephone point points in 20mm diameter Conduits | 80 | No. |  | 0
0
0
h | 230V Do not disturb/Occupied/Clean up signage to interior designers approval | 20 | No |  | 0
| Total carried forward to summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION SECOND FLOOR
Page 13
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 229 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 75 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 68 | No. |  | 0
LIGHTING FITTINGS
d | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 19 | No. |  | 0
e | TYPE D5' Room light as Mark Slojd code 148044-492212 Cleo Ceining as 'D5' to interior designers approval | 63 | No. |  | 0
f | TYPE WBR' 6W Wall bracket Reading light as Jacob NS code FAS210CC3200A00 | 40 | No. |  | 0
g | Type '2D' Low energy downlight as Ecolite code ELC1203C1 SR for toilets | 40 | No. |  | 0
h | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 7 | No. |  | 0
i | 'TYPE ML' Mirror light, Dual Shaver light code 71-SHL-DUAL | 21 | No. |  | 0
j | Type 'LS' 1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 14 | No. |  | 0
k | LED strip Flex Form Hybrid 19.7' indoor-Cabinet Warm Light complete with door controlled switch to interior designers approval | 20 | LM |  | 0
l | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION SECOND FLOOR
Page 14
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
POWER
a | 13A twin socket outlet wired in 3X2.5mm2 ring main | 109 | No. |  | 0
b | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 2 | No. |  | 0
c | 4mm2 PVC Copper cables to 20 Amp double pole point | 22 | No. |  | 0
POWER ACCESSORIES
d | 13A twin socket outlets as MK | 109 | No. |  | 0
e | 3 phase outlet complete with isolator and plug as MK | 2 | No. |  | 0
f | Double pole switch outlet as MK | 22 | No. |  | 0
g | 250x250mm adaptable box | 4 | No. |  | 0
h | 50mm diameter interconnecting conduits | 650 | Lm. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
i | 4-Core 25mm2 PVC/SWA/PVC cable from main LV Board to DB 'M' and 'N' | 100 | Lm |  | 0
j | 3x10mm2 PVC/SWA/PVC cable from main LV Board to CU 'P' and 'Q' | 360 | Lm |  | 0
DISTRIBUTION BOARDS
k | 12 way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. |  | 0
l | 6 way CU as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 21 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION SECOND FLOOR
Page 15
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
FIRE ALARM
a | Addressable heat/smoke detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 23 | No. |  | 0
b | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
c | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
d | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 36 | No. |  | 0
OTHER POINTS
e | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
f | CCTV points in 20mm diameter Conduits | 14 | No. |  | 0
g | TV,Data and Telephone point points in 20mm diameter Conduits | 12 | No. |  | 0
0
0
h | 230V Do not disturb/Occupied/Clean up signage to interior designers approval | 21 | No |  | 0
Total carried forward to summary page ……….
ELECTRICAL INSTALLATION TYPICAL 3RD & 4TH FLOOR
Page 16
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting point both 1 and 2 way | 237 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 77 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 71 | No. |  | 0
LIGHTING FITTINGS
d | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 19 | No. |  | 0
e | TYPE D5' Room light as Mark Slojd code 148044-492212 Cleo Ceining as 'D5' to interior designers approval | 68 | No. |  | 0
f | TYPE WBR' 6W Wall bracket Reading light as Jacob NS code FAS210CC3200A00 | 42 | No. |  | 0
g | Type '2D' Low energy downlight as Ecolite code ELC1203C1 SR for toilets | 43 | No. |  | 0
h | Type '4C' 1200mm 2x36W ELECTRONIC BALLAST fluorescent fitting with acrylic diffuser as Tigra T8 code CRFT8N136ES | 4 | No. |  | 0
i | 'TYPE ML' Mirror light, Dual Shaver light code 71-SHL-DUAL | 21 | No. |  | 0
j | Type 'LS' 1.2W LED Step Light,IP54 blue as Ecolite code 2095 BL to Interior Designers approval | 15 | No. |  | 0
k | LED strip Flex Form Hybrid 19.7' indoor-Cabinet Warm Light complete with door controlled switch to interior designers approval | 20 | LM |  | 0
l | "Type WB" 60W Bulkhead light with clear diffuser as Ecolite 8056 daylight for lift shaft | 2 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION TYPICAL 3RD & 4TH FLOOR
Page 17
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
POWER
a | 13A twin socket outlet wired in 3X2.5mm2 ring main | 103 | No. |  | 0
b | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 1 | No. |  | 0
c | 4mm2 PVC Copper cables to 20 Amp double pole point | 21 | No. |  | 0
POWER ACCESSORIES
d | 13A twin socket outlets as MK | 104 | No. |  | 0
e | 3 phase outlet complete with isolator and plug as MK | 1 | No. |  | 0
f | Double pole switch outlet as MK | 21 | No. |  | 0
g | 250x250mm adaptable box | 4 | No. |  | 0
h | 50mm diameter interconnecting conduits | 650 | Lm. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
i | 4-Core 25mm2 PVC/SWA/PVC cable from main LV Board to DB 'M' and 'N' | 100 | Lm |  | 0
j | 3x10mm2 PVC/SWA/PVC cable from main LV Board to CU 'P' and 'Q' | 360 | Lm |  | 0
DISTRIBUTION BOARDS
k | 12 way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. |  | 0
l | 6 way CU as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 21 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION TYPICAL 3RD & 4TH FLOOR
Page 18
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
FIRE ALARM
a | Addressable heat/smoke detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 18 | No. |  | 0
b | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
c | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
d | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 36 | No. |  | 0
OTHER POINTS
e | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
f | CCTV points in 20mm diameter Conduits | 3 | No. |  | 0
g | TV,Data and Telephone point points in 20mm diameter Conduits | 106 | No. |  | 0
0
0
h | 230V Do not disturb/Occupied/Clean up signage to interior designers approval | 21 | No |  | 0
| Total for Typical floor…………………………………………………………. |  |  |  | 0
| Total 2No. Typical Floors carried forward to summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION ROOF TOP
Page 19
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTING
Final sub-circuits from distribution board in a cable and conduit/channel installation comprising concealed heavy gauge PVC conduit, 1.5 mm2 PVC insulated copper cables, 1.5 mm2 copper earthing cable including all accessories and fittings.
a | Lighting points both 1 and 2 way | 106 | No. |  | 0
b | 10 Amp one gang one way switch as MK | 9 | No. |  | 0
c | 10 Amp two gang two way switch as MK | 3 | No. |  | 0
LIGHTING FITTINGS
d | TYPE "FL" Wall Mounted Outdoor Bullets Flood Lights as Sea Gull S860712 | 17 | No. |  | 0
e | Type 'D2' Low energy downlight as Thorn Novaline Cat No. NVLOZ2D28W with emergency kit for staircase | 10 | No. |  | 0
f | Type 'D7' Outdoor, Waterproof LED Downlight IP65 to to interior designers approval | 14 | No. |  | 0
g | Type "WB4" Wall Mounted Decorative, IP65 lights to interior designers approval | 30 | No. |  | 0
h | 'TYPE ML' Mirror light, Dual Shaver light code 71-SHL-DUAL | 5 | No. |  | 0
i | TYPE "WB8" Wall Edge Mounted Decorative, IP65 lights to interior designers approval | 30 | No. |  | 0
POWER
j | 13A twin socket outlet wired in 3X2.5mm2 ring main | 6 | No. |  | 0
k | 4mm2 PVC Copper cables to 20 Amp double pole point | 3 | No. |  | 0
l | 4x6mm2 + 6mm2 PVC Copper cables to 32 Amp 3 phase outlet | 3 | No. |  | 0
Total carried forward to next page ……….
ELECTRICAL INSTALLATION ROOF TOP
Page 20
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
|  |  |  | B/F | 0
POWER ACCESSORIES
a | 13A twin socket outlets as MK | 6 | No. |  | 0
b | Double pole switch outlet as MK | 3 | No. |  | 0
c | 3 phase outlet complete with isolator and plug as MK | 3 | No. |  | 0
d | 250x250mm adaptable box | 4 | No. |  | 0
e | 50mm diameter interconnecting conduits | 280 | Lm. |  | 0
SUBMAINS
600/1000 volt grade multi core PVC insulated copper armoured cable to BS 6346, including concealed heavy gauge PVC conduit, accessories and fittings
f | 4-Core 35mm2 PVC/SWA/PVC cable from main LV Board to DB 'Q' | 60 | Lm |  | 0
DISTRIBUTION BOARDS
g | 18 way 250A DB as Merlin Gerin or equal and approved equivalent complete with 10A, 20A, 32A, 63A MCBs and 3No. Spareways | 1 | No. |  | 0
FIRE ALARM
h | Addressable heat/smoke detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 10 | No. |  | 0
i | Addressable break glass as Menvier code MBG817 or approved equivalent | 3 | No. |  | 0
j | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. |  | 0
k | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 7 | No. |  | 0
OTHER POINTS
l | EXIT light wired in 1.5mm2 PVC Copper cable | 5 | No. |  | 0
m | CCTV points in 20mm diameter Conduits | 6 | No. |  | 0
n | TV,Data and Telephone point points in 20mm diameter Conduits | 12 | No. |  | 0
Total carried forward to summary page ……….
ELECTRICAL INSTALLATION MAIN LV BOARD
Page 21
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
MAIN POWER DISTRIBUTION
a | Main 3 phase 415, Low Voltage switchboard free standing fully front access with CTs chamber sealable by Kenya Power fabricated from 16 SWG steel and frames complete with the following: 1No. 630-800A adjustable TPN ACB incomer, 1000A Busbar, 18No. 125A TPN MCCBs, 5No. spareways, 200KVAR PFC bank to switch in steps of 50 KVARs, Space for Kenya Power 3 phase cut-outs and Digital meter, all necessary wiring, auxilliaries and indellible labelling. The switchboard should be finished in to IP 65 | 1 | Item |  | 0
b | Complete earthing to Kenya Power requirements comprising clamps and 20mm diameter 4ft long copper earth rods in concrete inspection chambers | 1 | Item |  | 0
c | 600x600x600mm power masonry cable pit complete with concrete base and water tight heavy duty concrete cover | 5 | No. |  | 0
d | 150mm diameter pvc duct complete with draw wire | 80 | Lm |  | 0
e | Ditto but with 150mm thick 1:3:6 concrete surround | 30 | Lm |  | 0
f | Trenching and backfilling the 750mm deep trench after laying the above ducts including compaction | 80 | Lm |  | 0
g | Allow for attendance and follow up for Kenya Power services comprising power application, service line installation, and meter connections | 1 | Item |  | 0
| Total carried forward to summary page ………. |  |  |  | 0
ELECTRICAL INSTALLATION LIGHTNING PROTECTION
Page 22
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
LIGHTNING PROTECTION
Supply, install, test and commission:
a | Air termination Type Furse RA225+RA600 fixed to ridge saddle Furse SD155 bolted to roof with water tight washers | 6 | No. |  | 0
b | 25x3mm copper tape TC030 on tape clip Furse CP210 fixed at 750mm intervals to approved detail | 300 | Lm |  | 0
c | Lugs including fixing bolts for roof conductors | 1 | Lot |  | 0
d | Test clamps Furse CN305 | 1 | Lot |  | 0
e | Earth rods Furse RC105 with driving sud, Furse ST015 and spike Furse SP015 driven in ground | 4 | No. |  | 0
f | 125x100x50mm deep boxes with cover and marked 'Safety Earth' installed in RC columns to approved details | 4 | No. |  | 0
g | Test and report complete installation for the compliance with KS04503 and BS code of practice BS6651 | 1 | Lot |  | 0
| Total carried forward to summary page ………. |  |  |  | 0
SMATV INSTALLATION
Page 23
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
SMATV TRANSMISSION SYSTEM - PROJECT A
a | 0.6 – 3.0 m solid aluminium dish antenna, C/Ku-band LNB with 8-way LNB (for Eutelsat, Intelsat, Atlantic Bird, HotBird) as per the technical specifications | 2 | No. |  | 0
b | Digital Channel processing modules as DSTV to process 20 No. digital programs from satellite dish or equal and approved equivalent as per the technical specifications | 20 | No. |  | 0
c | Signal Amplifiers (Boosters) and Filters | 6 | No. |  | 0
d | Modulation modules for converting the AV output of the above Satellite and Digital boxes to standard TV channels in PAL | 20 | No. |  | 0
e | TV/FM outlet socket with silver lining cover plate. | 94 | No. |  | 0
f | RG6 RF Coaxial Cables for signal distribution (305m per roll) | 10 | Rolls |  | 0
g | 18U Equipment rack Cabinet with shelves, casings, and mountings for SMATV System | 1 | No. |  | 0
h | 8 way RF Signal Splitters as per the technical specifications | 9 | No. |  | 0
i | Connectors, Mountings, and terminals | 1 | Lot |  | 0
j | Any other items necessary to complete the system installation satisfactorily. (List, give quantities and price of the items)
i)……………………………………………….
ii)………………………………………………
ii)…………………………………………..….
iv)……………………………..………………
TOTAL COST CARRIED FORWARD TO AV SUMMARY PAGE |  |  |  |  | 0
CLEAN POWER INSTALLATION
Page 24
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
[5 empty] | KSHS | CTS
Supply, install, test and commission:
a | 16 KW 20KVA Freestanding Double-conversion (on-line) Uninteruptible Power Supply Unit, UPS as APC MGE Galaxy 300 or equal and approved equivalent, equiped with static and manual bypasses and having the following characteristics:- Redudancy: 20KVA Modules, Power Supply: 3-phase input 415V, Output Voltage: 1-phase output 240 V +/- 1%, Output Frequency: 50 Hz +/- 0.5 Hz, Overload Capacity: 125% for 1 minute, Overload Capacity: 125% for 1 minute, Input Power Factor: 1, V, Service life: Minimum 10 years, Backup time: Minimum 20 minutes, THD : < 2% linear Load, LOAD CF (max): 6:1, DC/AC Efficiency (nominal) :98%, AC/AC Efficiency (nominal) :96% | 1 | No. |  | 0
b | 12 Way DB with 100A isolator with 8No. 32A SP MCBs | 1 | No. |  | 0
| Total carried forward to summary page ………. |  |  |  | 0
SUMMARY OF TENDER PAGE
PROPOSED DESIGN AND SUPERVISION OF PROJECT A
ELECTRICAL INSTALLATIONS
| Preliminaries: (Page 1)..………….………………...… |  | Kshs……………………….……………………
| Complying with specifications:....………………...… |  | Kshs………………………………….…………
Total Brought Forward from :
| : Page 3 (BASEMENT FLOOR 2).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 5 (BASEMENT FLOOR 1).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 9 (GROUND FLOOR)..…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 12 (FIRST FLOOR)……..…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 15 (SECOND FLOOR ).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 18 (TYPICAL 3RD & 4TH FLOOR).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 20 (ROOF TOP).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 21 (MAIN LV BOARD).…..……..………………….…. |  | KShs…..……..…………….…………
| : Page 22 (LIGHTNING PROTECTION)..………………….…. |  | KShs…..……..…………….…………
| : Page 23 (SMATV)..…………..…………….……………… |  | KShs…..……..…………….…………
| : Page 24 (CLEAN POWER)..…………..…………….……………… |  | KShs…..……..…………….…………
| Sub TotaI exclusive of VAT……………………………………… |  | Kshs…………………………………………..
| 16% VAT………………………………….……………………… |  | Kshs………………………………..
| Sub TotaI Inclusive of VAT……………………………………… |  | Kshs………………………………..
Add 5 % of sub totals(VAT inclusive) for contingency
| to be used for authorised variations…………………………….. |  | Kshs…………………………..
| TOTAL CARRIED TO FORM OF TENDER………………….... |  | KShs…………………...…………..
NB: Drawings are part of tender documents.Rates to include relevant taxes except VAT
Name of Tenderer:............................................................................................
Address of Tenderer:.........................................................................................
| Signature and Stamp of Tenderer:.......................................... | Date: | …............................