## ELECTRICAL SERVICES
PROJECT A -ELECTRICAL SERVICES
ELECTRICAL INSTALLATION
| ALL RATES TO INCLUDE 16% VAT |  |  |  | Page BQ1
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
KSHS
PRELIMINARIES/GENERAL ITEMS
| The Tenderer/Contractor shall include in his tender documents the specific qualifications as outlined below: |  |  |  | 0
Minimum requirements:
a.Registered Contractor with NCA at least NCA Class 5
b.3 Years of experience on relevant projects.
c.3 works of similar in nature and complexity over the last 3 yrs.
d.At least for one of the previous projects done to be of at least 5M value for electrical Installations.
0
a | Allow for the preparation of all "As Built" Drawings | 1 | Sum | 30000 | 30000
b | Allow for the preparation of all Working Drawings | 1 | Sum | 30000 | 30000
c | The Tenderer is to describe hereunder inserting any relevant clause number, any other works, obligations or items that may be referred to in the Conditions of Contract, Specifications or Drawings in respect of the works for which he desires to enter a separate charge ( this charge is to be entered in the Amount column). If no charge is entered hereunder, rates and amounts elsewhere in the schedule of prices shall be deemed to cover all expenses for such works, obligations or items | 1 | Sum | 20000 | 20000
d | Allow for liaison and attendance to KP&LC Ltd. in power application, and meter separation and installation of new 3phase meter. | 1 | Sum | 20000 | 20000
e | Allow for provision of manuals | 1 | Sum | 3000 | 3000
| Total carried forward to price summary page ………. |  |  |  | 103000
PROJECT A -ELECTRICAL SERVICES
| ALL RATES TO INCLUDE 16% VAT |  |  |  | Page BQ2
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
KSHS
LIGHTING
Supply, install, test and commsission,
a | Lighting point 1 way & 2 way | 185 | No. | 1500 | 277500
b | 10 Amp one gang one way switch as MK | 35 | No. | 300 | 10500
c | 10 Amp one gang two way switch as MK | 22 | No. | 300 | 6600
0
| LIGHTING FITTINGS |  |  |  | 0
0
d | Type '6' 600x600mm, super efficient recessed LED modular luminaire with curved diffuser as V3 luminaires catalogue's ''LYTEPANEL LED RECESSED 600 x 600mm 4K'' or an approved equivalent. | 67 | No. | 5500 | 368500
e | Ditto as above but with emergency kit | 10 | NO | 7500 | 75000
f | Type 'N' 24W super shallow LED downlighter in round die cast aluminium housing for circulation spaces as V3 luminaires catalogue's ''Ascent 50 12 LED STD HO'' or an approved equivalent | 5 | No. | 4000 | 20000
g | Ditto as above but with emergency kit | 1 | NO | 5000 | 5000
h | Type '4C' 1200x300mm, 24W, super efficient recessed LED modular luminaire as V3 luminaires catalogue's ''RANA LED Recessed 1200 x 300mm single LED (1*LH)'' or an approved equivalent. | 11 | No. | 4000 | 44000
i | Type '2D' 8W LED white downlight, IP44 rating for installation in wet areas as V3 luminaires catalogue's ''Insaver 150 HE Topper LED'' or an approved equivalent. | 4 | No. | 4000 | 16000
j | Surface mounted double sided exit sign with 1X5W led lamps for BF- 4F maintained for 3 hours as OMS Emergency 2811 or equal and approved equivalent | 8 | No. | 5200 | 41600
k | Type 'TL' IP22 rated, Track Light,Portfolio Sparta 4-Light 34.05-in Brushed Steel Dimmable Fixed Track Light Kit Adjustable light heads as LOWES or an approved equivalent. | 2 | No. | 6000 | 12000
l | Type 'SP' IP44 rated Recessed white downlight as LEDs C4, Catalogue no. DORIT TC-0351-BLA or an approved equivalent. | 77 | No. | 4000 | 308000
| Total carried forward to price next page ………. |  |  |  | 876700
PROJECT A -ELECTRICAL SERVICES
| ALL RATES TO INCLUDE 16% VAT |  |  |  | Page BQ3
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
KSHS
|  |  |  | B/F | 876700
Supply, install, test and commsission,
POWER OUTLET POINTS
a | 13A twin socket outlet point wired in 3X2.5mm2 PVC Copper cable in ring main in a 100 x 75 slotted trunking | 85 | No. | 2000 | 170000
0
b | 13A twin floor table mounted socket outlet point wired in 3X2.5mm2 PVC Copper cable in ring main | 40 | No. | 2500 | 100000
0
c | 20 Amp double pole outlet point wired in 3x4.0mm2 PVC Copper | 4 | No. | 2500 | 10000
d | 3 compartment,White powder coated factory made 250 x 50 mm slotted trunking c/w bends, joints, faceplates and any other accessories necessary installation satisfactorily for power and data/voice cables as power Technics or approved equivalent | 300 | Lm | 2800 | 840000
I | Project A Sacco Signage Power point completely wired in 3x2.5mm² single core PVC insulated copper cables drawn in 32mm diameter HG PVC conduits including all accessories | 1 | No. | 2500 | 2500
e | Factory made 300 x 60 mm slotted cable tray c/w brackets, bends, joints, faceplates and any other accessories necessary installation satisfactorily | 60 | Lm | 2500 | 150000
| POWER ACCESSORIES |  |  |  | 0
f | 13A twin switched socket outlets as MK or an approved equivalent | 85 | No. | 800 | 68000
g | 13A twin table mounted socket outlets for power and twin RJ45 outlets for data as MK or an approved equivalent | 40 | No. | 5000 | 200000
h | 20A DP switch outlet with neon light as MK or an approved equivalent | 4 | No. | 1200 | 4800
0
| Total carried forward to price next page ………. |  |  |  | 2422000
PROJECT A -ELECTRICAL SERVICES
| ALL RATES TO INCLUDE 16% VAT |  |  |  | Page BQ4
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
KSHS
|  |  |  | B/F | 2422000
Supply, install, test and commsission,
| SUBMAINS |  |  |  | 0
a | 4-Core 35mm2 PVC/SWA/PVC cable from main LV Board to DB | 50 | Lm | 3500 | 175000
b | 4-Core 16mm2 PVC/SWA/PVC cable from DB to 4.no CU's | 80 | Lm | 2500 | 200000
DISTRIBUTION BOARDS
c | 9 way DB as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 1 | No. | 40000 | 40000
d | 9 way CU as Merlin Gerin or approved equivalent complete with 10A, 20A, 32A MCBs and 3No. Spareways | 2 | No. | 30000 | 60000
| FIRE ALARM |  |  |  | 0
0
e | Addressable smoke/heat detectors as Menvier code MAOH850 plus addressable base with code MAB800 or approved equivalent | 26 | No. | 9000 | 234000
f | Addressable break glass as Menvier code MBG817 or approved equivalent | 4 | No. | 6000 | 24000
g | Sounder and beacon as Menvier code MASB870 or approved equivalent | 3 | No. | 8000 | 24000
0
h | Fire alarm initiating points wired in 1.5mm2 fire resistant cable enclosed in 20mm diameter conduits | 26 | No. | 3500 | 91000
0
i | Intelligent Addressable 2-loop fire alarm panel complete with 72hrs standby batteries as Menvier DF60002 | 1 | No. | 150000 | 150000
| OTHER POINTS |  |  |  | 0
j | CCTV, Telephone & TV points in 20mm diameter Conduits | 25 | No. | 1100 | 27500
| Total for one floor |  |  |  | 3420000
Page 5
ITEM NO. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
KSHS
SMATV TRANSMISSION SYSTEM
a | 0.6 – 3.0 m solid aluminium dish antenna, C/Ku-band LNB with 8-way LNB (for Eutelsat, Intelsat, Atlantic Bird, HotBird) as per the technical specifications | 1 | No. | 16000 | 16000
b | Digital Channel processing modules as DSTV to process 50 No. digital programs from satellite dish or equal and approved equivalent as per the technical specifications | 1 | No. | 40000 | 40000
c | Signal Amplifiers (Boosters) and Filters | 1 | No. | 7500 | 7500
d | Modulation modules for converting the AV output of the above Satellite and Digital boxes to standard TV channels in PAL | 1 | No. | 5000 | 5000
e | TV/FM outlet socket with silver lining cover plate. | 10 | No. | 1000 | 10000
f | RG6 RF Coaxial Cables for signal distribution (305m per roll) | 2 | Rolls | 28000 | 56000
g | 12 way RF Signal Splitters as per the technical specifications | 1 | No. | 5000 | 5000
h | Connectors, Mountings, and terminals | 1 | Lot | 50000 | 50000
i | Any other items necessary to complete the system installation satisfactorily. (List, give quantities and price of the items)
i)……………………………………………….
ii)………………………………………………
TOTAL COST CARRIED FORWARD TO AV SUMMARY PAGE |  |  |  |  | 189500
Page BQ7
SUMMARY OF TENDER PAGE
PROJECT A -ELECTRICAL INSTALLATIONS
| Preliminaries: (Page 1)..…….……….………………...… |  | Kshs…...……….…………………… |  | 103000
| Complying with specifications:.......………………...… |  | Kshs…...………………….………… |  | 40000
Total Brought Forward from :
| : Page 4 ()……..…..……..………………….…. |  | KShs…..……..…………….………… |  | 3420000
| : Page 5 (SMATV)..…………..…………….……………… |  | KShs…..……..…………….………… |  | 189500
| Sub TotaI inclusive of VAT……………………………………… |  | Kshs………………………………….. |  | 3752500
| TOTAL CARRIED TO FORM OF TENDER………………….... |  | KShs…………………...………….. |  | 3752500
NB: Drawings are part of tender documents.
Rates to include VAT and other relevant taxes
Name of Tenderer:.......................................................................................
Address of Tenderer:...................................................................................
| Signature and Stamp of Tenderer:.......................................... | Date: | …............................